Klarity® Cleanable Pads, Cushions, and Wedges

for Radiation Therapy

INSTRUCTIONS FOR USE

GENERAL INFORMATION

Klarity Cleanable Pads, Cushions, and Wedges are medical devices used to provide comfort and positioning and immobilization of patients undergoing radiation therapy treatment.

PRODUCT DESCRIPTION

Klarity Cleanable Pads, Cushions, and Wedges are generally made of a durable and non-permeable outer coating or fabric with an interior consisting of foam. These are non-indexable positioning aids to be used to provide comfort to patients. Klarity Cleanable Pads, Cushions, and Wedges are available in a variety of sizes, shapes, and foam types. Please consult a Klarity sales representative or www.klaritymedical.com for a complete selection.

MAINTENANCE AND CLEANING

Klarity Cleanable Pads, Cushions, and Wedges should be stored in a clean, ventilated space. These items can be cleaned with facility approved products, mild soap, and lukewarm water, or with a mild disinfectant wipe, such as Sani-wipes. Avoid aerosol sprays, bleach, solvents, or abrasive detergents. Keep away from hot surfaces or heat sources that can damage the outer fabric or coating. Keep away from sharp objects to avoid punctures. Use-life for pads and cushions is determined by the type of wear and use they undergo during their life cycle.

SAFETY PRECAUTIONS

Check Cleanable Pads, Cushions, and Wedges regularly for wear. Do not rely on these products alone for accurately repositioning a patient. These products cannot accurately reproduce patient setups when small error tolerances are required.

INSTRUCTIONS FOR USE

**Determine the patient’s needs for comfort and positioning before using pads, cushions, or wedges. Place the device at desired location as needed. Verify patient can tolerate positioning.**

Klarity® Cleanable Pads, Cushions, and Wedges

for Radiation Therapy

INSTRUCTIONS FOR USE

GENERAL INFORMATION

Klarity Cleanable Pads, Cushions, and Wedges are medical devices used to provide comfort and positioning and immobilization of patients undergoing radiation therapy treatment.

PRODUCT DESCRIPTION

Klarity Cleanable Pads, Cushions, and Wedges are generally made of a durable and non-permeable outer coating or fabric with an interior consisting of foam. These are non-indexable positioning aids to be used to provide comfort to patients. Klarity Cleanable Pads, Cushions, and Wedges are available in a variety of sizes, shapes, and foam types. Please consult a Klarity sales representative or www.klaritymedical.com for a complete selection.

MAINTENANCE AND CLEANING

Klarity Cleanable Pads, Cushions, and Wedges should be stored in a clean, ventilated space. These items can be cleaned with facility approved products, mild soap, and lukewarm water, or with a mild disinfectant wipe, such as Sani-wipes. Avoid aerosol sprays, bleach, solvents, or abrasive detergents. Keep away from hot surfaces or heat sources that can damage the outer fabric or coating. Keep away from sharp objects to avoid punctures. Use-life for pads and cushions is determined by the type of wear and use they undergo during their life cycle.

SAFETY PRECAUTIONS

Check Cleanable Pads, Cushions, and Wedges regularly for wear. Do not rely on these products alone for accurately repositioning a patient. These products cannot accurately reproduce patient setups when small error tolerances are required.

INSTRUCTIONS FOR USE

**Determine the patient’s needs for comfort and positioning before using pads, cushions, or wedges. Place the device at desired location as needed. Verify patient can tolerate positioning.**